## LEAP_inventory_list_Aug21
| Item Name | Item Description | Vendor | Part number | Link
PIC Design | Software | Simulation, Schematic Design, Layout, Verification and System Integration | TBD
| Computers | PIC Design and data collection | TBD
Subtotal
Wafer/Die/Chip Prototyping | Plasma Treatment System | surface prep/cleaning for fuctionalization | Harrick Plasma | PDC-001 HP | https://harrickplasma.com/plasma-cleaners/high-powered-expanded-plasma-cleaner/
| Fiber Preparation | cleaving, splicing, and tapering for testing | HJ OPTRONICS, INC. | PFS 500 | https://hjoptronicsinc.com/collections/fiber-tool
| Ink Jet Printer | for functionalizing surfaces and printing conductive inks | Suss Microtec/Meyer Burger | LP50 | https://www.suss.com/en/products-solutions/inkjet-printing/lp50
| Glass & wafer scriber | for creating custom size substrates and dies | LC Technologies | GC1D-16 | http://www.lctechnologies.com/glassscriber.htm
Photonic Integrated Circuit Functionalization | Nanoscribe Photonic Professional GT+ System | Rapid prototyping of micro/mm scale polymer structures: Photonics wire bonds, photonic crystals, microfluidics | Nanoscribe | Photonic Professional GT+ | https://www.nanoscribe.de/en/
| Contact Aligner (DUV, 0.4 microns) | patterning of microfluids, waveguides for education | ABM USA | ABM/6"/500w/UV/DUV/DUALCCD/SEMI AUTO | http://www.abmusainc.com/index.php/products
| UV curing box | bulk curing of UV sensitive adhesvies, resins, etc. | Kloe | UV Kub 2 | https://www.kloe-france.com/en/photolithography-equipment/masking-system/masker-uv-kub-2
| Spin Coater | functionalization for sensing, resist deposition | Apogee | CEE | https://www.costeffectiveequipment.com/products/spin-coaters/
Testing & Characterization | Silicon Photonics Probe Station | Optical and Electrical characterization and testing | Maple Leaf Photonics | custom SD100 | https://www.mapleleafphotonics.com/#ProbeStations
| Electronic and Photonic Probe Station | Optical and Electrical characterization and testing | FormFactor | custom die level probe station | -
| Electronic Probe Station | RF and bulk material electronic probing and testing | FormFactor | MPS-150 | https://www.formfactor.com/product/probe-systems/150-mm-systems/mps150/
| Lightwave Measurement System centered on 1550 nm | Basic optical characterization of PICs near 1550 nm | Keysight | 81606A 216 | https://literature.cdn.keysight.com/litweb/pdf/5989-7321EN.pdf?id=258405
| Lightwave Measurement System centered on 1310 nm | Basic optical characterization of PICs near 1310 nm | Keysight | 81606A 113 | https://literature.cdn.keysight.com/litweb/pdf/5989-7321EN.pdf?id=258405
| DC Parametric Semiconductor Device Analyzer | Electrical characterization | Keysight | B1500A | https://literature.cdn.keysight.com/litweb/pdf/5989-2785EN.pdf?id=629794
| Lightwave Component Analyzer to 67 GHz | Characterize EO PICs for 40G/100G/400G transmission systems | Keysight | N4373E | https://literature.cdn.keysight.com/litweb/pdf/5992-3064EN.pdf?id=2994007
| High-Speed Arbitrary Waveform Generator (65GSa/sec) | Arbitrary waveforms for receiver stress test | Keysight | M8195A | http://literature.cdn.keysight.com/litweb/pdf/5992-0014EN.pdf
| Tunable laser source (1240-1380) | Tunable for 1310 nm | Keysight | 8164B | https://www.keysight.com/us/en/product/8164B/lightwave-measurement-system.html
| Tunable laser source (1450-1650) | Tunable for 1550 nm | Keysight | 8164B | https://www.keysight.com/us/en/product/8164B/lightwave-measurement-system.html
| Polarization Synthesizer | Tunable from 1270-1375 nm and 1460-1620 nm | Keysight | N7786B | https://literature.cdn.keysight.com/litweb/pdf/5989-8115EN.pdf?id=1203300
| Digital Communication Analyzer (DCA) Oscilloscope (~34 GHz) | advanced jitter, eye, and waveform analysis | Keysight | DSAV204A | https://www.keysight.com/us/en/support/DSAV204A/infiniium-v-series-oscilloscope-20-ghz-4-analog-channels.html
| Optical Surface Profiler w/set of interferometric objectives | Narrow FOV geometrical accuracy verification and 3D Optical Surface Profiler | ZYGO | Nexview nx2 | https://www.zygo.com/products/metrology-systems/3d-optical-profilers/nexview-nx2
| Digital Microscope | Wide FOV geometrical accuracy verification | Keyence | VHX-7000 | https://www.keyence.com/ss/products/microscope/pr_vhx-7000/
| Stereo microscope | Trinocular microscope for general purpose metrology and imaging | Nikon | SMZ800N | https://www.nikonmetrology.com/en-us/industrial-microscopes/stereo-microscopes-smz800n
| Atomic Force Micrsocope | sub-nm characterization of surfaces | Park Systems | NX20 | https://parksystems.com/products/large-sample-afm/park-nx20/overview
| Stylus Profilometer | sub mm characterization of thin fims and 2D microstructures | KLA Tencor | D600 | https://www.kla-tencor.com/products/surface-profilers/alphastep-d-600-stylus-profiler
| Visible & Short Wave Infrared camera | High Res IR imaging for PIC and fiber alignment | Xenics | Bobcat 640 | https://www.xenics.com/short-wave-infrared-imagers/bobcat-640-series/
| Environmental Chambers | Temperature and humidity soak testing | CZI | CSZRI331 WSW/8H
Optics, Photonics, Spectroscopy Equipment and General Laboratory Equipment | Optical Tables w/overhead shelfs: | TMC and Newport vibration isolation tables in cleanroon and teaching lab & classroom | various | various
| Spectrometer: UV-VIS | compact USB spectrometer (200-1000 nm) | Thorlabs | CCS200 | https://www.thorlabs.com/thorproduct.cfm?partnumber=CCS200#ad-image-0
| Spectrometer: UV-VIS-NIR | spectrometer with broadband light sources (200 nm - 1800 nm) and interchangeable gratings | Princeton Instruments/Teledyne | SpectraPro HRS-300i | https://www.princetoninstruments.com/products/spectrapro-family/spectra-pro-hrs
| Opto-mechanical components, including optomechanical positioning, lenses, … | Educational optics and photonics; prototyping | various | various
| Supercontinum laser source | single mode fiber delivery tunable over UV-VIS-NIR w/ 4 nm bandwidth | NKT Photonics | SuperK Compact | https://www.nktphotonics.com/lasers-fibers/product/superk-compact-supercontinuum-lasers/
| Optical Sensors/Detetors | Educational and testing | various | various
| General Lab Instrumentation including electronics tools, fume hood, soldering stations, liquid/gas handling, vacuum equipment | Supporting electronics and chem/bio handling for sensors | various
| Lock in amplifier | 4 MHz dual phase lock in amplifier | Stanford Research Systems | SR865A | https://www.thinksrs.com/products/sr865a.html
| Dynamic Signal Analzyer | Dual channel dynamic signal analyzer for 1/f measurements | Stanford Research Systems | SR785 | https://www.thinksrs.com/products/sr785.html
| Frequency Domain spectrometer | Supporting 1550 nm and 5G/6G development | Toptica | TeraScan | https://www.toptica.com/products/terahertz-systems/frequency-domain/terascan/
| Time Domain spectrometer | Supporting 1550 nm and 5G/6G development | Toptica | TeraFlash | https://www.toptica.com/products/terahertz-systems/time-domain/
| Data Acquisition Systems | Data collection | National Instruments | various
General Lab Electronic Instrumentation | 10 MHz – 67 GHz USB Thermocouple Power Sensor | General Purpose | Keysight | U8488A | https://literature.cdn.keysight.com/litweb/pdf/5991-1410EN.pdf?id=2271238
| Electronic Calibration Module (ECal), 10 MHz to 67 GHz, 1.85 mm, 2-port | General Purpose | Keysight | N4694A | https://literature.cdn.keysight.com/litweb/pdf/5963-3743E.pdf?id=1000030554:epsg:dow
| 33 GHz Optical to Electrical Converter (50/125 µm fiber input, 750 nm - 1650 nm) | General Purpose | Keysight | N7004A | https://www.keysight.com/en/pd-2746451-pn-N7004A/33-ghz-optical-to-electrical-converter?cc=US&lc=eng&lsrch=true&searchT=N7004A
| 4 channel Oscilloscope 200 MHz | General Purpose | Keysight | DSOX4024A | https://www.keysight.com/en/pdx-x201946-pn-DSOX4024A/oscilloscope-200-mhz-4-analog-channels?nid=-32539.1150538.00&cc=US&lc=eng
| 4 channel Oscilloscope 200 MHz | General Purpose | Keysight | DS0X3024T | https://www.keysight.com/en/pdx-x202173-pn-DSOX3024T/oscilloscope-200-mhz-4-analog-channels?nid=-32541.1150350.00&cc=US&lc=eng
| High resistance Meter | General Purpose | Keysight | B2985A | https://literature.cdn.keysight.com/litweb/pdf/5991-4878EN.pdf?id=2500920
| Precision Source/Measurement Unit (1 ch, 10 fA, 210 V, 3 A DC/10.5 A Pulse) | General Purpose | Keysight | B2911A | https://www.keysight.com/en/pd-1983593-pn-B2911A/precision-source-measure-unit-1-ch-10-fa-210-v-3-a-dc-105-a-pulse?nid=-33504.978796.00&cc=US&lc=eng
| Digital Multimeter | General Purpose | Keysight | U1233A | https://www.keysight.com/en/pdx-2851357-pn-U1233A/handheld-digital-multimeter-3-digit?nid=-32047.1242718.00&cc=US&lc=eng
| 80 W Triple output DC Power Supply 6V, 5A & ±25V, 1A | General Purpose | Keysight | E36311A | https://literature.cdn.keysight.com/litweb/pdf/5992-2124EN.pdf?id=2875298
| 160W Triple Output DC Power Supply, 6V, 10A & 2X 25V, 2A | General Purpose | Keysight | E36313A | https://literature.cdn.keysight.com/litweb/pdf/5992-2124EN.pdf?id=2875298
| Waveform Generator 30 MHz 2-channel | General Purpose | Keysight | 33522B | https://literature.cdn.keysight.com/litweb/pdf/5992-2572EN.pdf?id=2937598
| Digital Storage Oscilloscope w/ waveform generator 70 MHz 2Ch | General Purpose | Keysight | DSOX1102G | https://www.keysight.com/en/pdx-2766207-pn-DSOX1102G/oscilloscope-70-100-mhz-2-analog-channels?nid=-32110.1203275.00&cc=US&lc=eng
Bio Material Sample Handling, Prep and Storage | Class II Bio safety cabinet | 4ft Bio Safety Cabinet | ESCO | AR2-4S9 | http://escolifesciences.us/products/download/9010258-airstream-ns-brochure-us-ve-lr.pdf
| Incubator Shaker | combination incubator and shaker | Benchmark | Incu-Shaker 10L | https://www.benchmarkscientific.com/rpproducts/incu-shaker-10l-shaking-incubator/
| Autoclave | Autoclave | Benchmark Scientific | Bioclave 16L | https://www.benchmarkscientific.com/product/b4000-group/
| CO2 Incubator | CO2 incubator | Nuaire | Nu-5720 | https://nuaire.com/en/products/co2-incubators/in-vitrocell-nu-5700-direct-heat-co2-incubator
| Low temerature Freezer | 18.6 cu ft low temperature freezer | Labrepco | MDF-DU502VHA-PA | https://www.labrepco.com/product/phc-vipa-eco-natural-refrigerant-18-6-cu-ft-capacity-384-x-2-boxes-86ac-ultra-low-temp-freezer-115v/
| Precision Balance | 220 g, 0.2 mg resolution analytical balance | Sartorius | BCE224-1S | https://www.sartorius.com/shop/ww/en/usd/products-laboratory-laboratory-balances/entris-ii-essential-line-analytical-balance-220-g%7c0-1-mg%2c-external-adjustment/p/BCE224-1S